## Sheet1
Product Code | Description | Product Group | Subcat1 | Subcat2 | Brand | Unit Equipment Cost Price Ex VAT | Unit Material Cost Price Ex VAT | Labour Hours | Sub-contracting Cost Ex VAT | Unit Selling Retail Price Ex VAT
RAS-B10E2KVG-E + RAS-10E2AVG-E | Toshiba SEIYA indoor & outdoor 10,000 BTUs installed | Air conditioning | Split units | Highwall | Toshiba | 327.27 | 0 | 0 | 130 | 738.1356
RAS-B13E2KVG-E + RAS-13E2AVG-E | Toshiba SEIYA indoor & outdoor 13,000 BTUs installed | Air conditioning | Split units | Highwall | Toshiba | 345.53 | 0 | 0 | 130 | 767.7966
RAS-B16E2KVG-E + RAS-16E2AVG-E | Toshiba SEIYA indoor & outdoor 16,000 BTUs Kw installed | Air conditioning | Split units | Highwall | Toshiba | 448.59 | 0 | 0 | 150 | 966.1017
RAS-B18E2KVG-E + RAS-18E2AVG-E | Toshiba SEIYA indoor & outdoor 18,000 BTUs installed | Air conditioning | Split units | Highwall | Toshiba | 519.68 | 0 | 0 | 150 | 1080.5085
RAS-B24E2KVG-E + RAS-24E2AVG-E | Toshiba SEIYA indoor & outdoor 24,000 BTUs installed | Air conditioning | Split units | Highwall | Toshiba | 632.96 | 0 | 0 | 150 | 1263.5593
RAV-HM561BTP-E + RAV-GV561ATP-E | Toshiba Digital Inverter Ducted indoor & outdoor 19,000 BTUs installed | Air conditioning | Split units | Ducted | Toshiba | 1020.8 | 45 | 8 | 0 | 1900
EXTRCPRSP12 | Extra copper split (up-to 1/2) | Air conditioning | Split units | Extra Works | N/A | 0 | 0 | 0 | 23 | 31.36
EXTRCPRSP58 | Extra copper split (up-to 5/8) | Air conditioning | Split units | Extra Works | N/A | 0 | 0 | 0 | 23 | 28.81
EXTRDRNSP | Extra condensate drain split | Air conditioning | Split units | Extra Works | N/A | 0 | 0 | 0 | 2.5 | 3.39
CHSCPR | Chasing in wall for copper | Air conditioning | Split units | Extra Works | N/A | 0 | 0 | 0 | 8 | 10.59
CHSDRN | Chasing in wall for drain | Air conditioning | Split units | Extra Works | N/A | 0 | 0 | 0 | 2.5 | 3.81
DTC | Design, testing & commissioning excluding refrigerrant | Air conditioning | VRF | Extra Works | N/A | 0 | 0 | 5.5 | 0 | 183.7
WADWG | Working & as-fitted drawings | Air conditioning | VRF | Extra Works | N/A | 0 | 0 | 2 | 0 | 66.8
R410A | Additional R-410A refrigerrant (KG) | Air conditioning | VRF | Extra Works | N/A | 0 | 16 | 0 | 0 | 26.72
MCY-MHP0406HT-E | Mini SMMSe 4 HP single phase (single fan) | Air conditioning | VRF | Outdoor | Toshiba | 1457.5264 | 8.9 | 4.61 | 0 | 2602.9061
MCY-MHP0506HT-E1 | Mini SMMSe 5HP single phase (single fan) | Air conditioning | VRF | Outdoor | Toshiba | 1520.0105 | 8.9 | 4.61 | 0 | 2707.2545
MMK-UP0091HP-E | Highwall VRF 9,000 BTU's (2.8Kw) | Air conditioning | VRF | Highwall | Toshiba | 324.3433 | 2 | 4 | 0 | 678.5933
MMK-UP0121HP-E | Highwall VRF 12,000 BTU's (3.6Kw) | Air conditioning | VRF | Highwall | Toshiba | 329.6293 | 2 | 4 | 0 | 687.4209
MMK-UP0151HP-E | Highwall VRF 15,000 BTU's (4.5Kw) | Air conditioning | VRF | Highwall | Toshiba | 373.1178 | 2 | 4 | 0 | 760.0468
MMK-UP0181HP-E | Highwall VRF 18,000 BTU's (5.6Kw) | Air conditioning | VRF | Highwall | Toshiba | 379.7153 | 2 | 4 | 0 | 771.0645
MMK-UP0241HP-E | Highwall VRF 24,000 BTU's (7.1Kw) | Air conditioning | VRF | Highwall | Toshiba | 386.3228 | 2 | 4 | 0 | 782.099
CPR Riser 1 | Copper riser for Mini SMMSe 4 HP & 5HP 5/8 & 3/8 | Air conditioning | VRF | Installation Accessories | N/A | 0 | 12.305 | 0.55 | 0 | 38.9193
CPR Riser 2 | Copper riser for Mini SMMSe 6 HP 3/4 & 3/8 | Air conditioning | VRF | Installation Accessories | N/A | 0 | 12.545 | 0.55 | 0 | 39.3201
CPR Riser 3 | Copper riser for Mini SMMSe & SMMSu 8 HP & 10 HP 3/4 & 1/2 | Air conditioning | VRF | Installation Accessories | N/A | 0 | 13.765 | 0.55 | 0 | 41.3575
CPR Riser 4 | Copper riser for SMMSu 12 HP 1 1/8 & 1/2 | Air conditioning | VRF | Installation Accessories | N/A | 0 | 12.9075 | 0.76 | 0 | 46.9395
CPR Riser 5 | Copper riser for SMMSu 14, 16, 18 & 20 HP 1 1/8 & 5/8 | Air conditioning | VRF | Installation Accessories | N/A | 0 | 26.09 | 0.76 | 0 | 68.9543
CPR Riser 6 | Copper riser for SMMSu 22 & 24 HP 1 1/8 & 3/4 | Air conditioning | VRF | Installation Accessories | N/A | 0 | 27.1625 | 0.76 | 0 | 70.7454
CPR Internal 1 | Internal copper upto 1/2 | Air conditioning | VRF | Installation Accessories | N/A | 0 | 12.5119 | 0.5524 | 0 | 39.345
CPR Internal 2 | Internal copper upto 5/8 | Air conditioning | VRF | Installation Accessories | N/A | 0 | 13.7222 | 0.5524 | 0 | 41.3662
CPR Internal 3 | Internal copper upto 3/4 | Air conditioning | VRF | Installation Accessories | N/A | 0 | 16.1257 | 0.5524 | 0 | 45.3801
CPR Internal 4 | Internal copper upto 7/8 | Air conditioning | VRF | Installation Accessories | N/A | 0 | 18.9625 | 0.5524 | 0 | 50.1175
CPR Internal 5 | Internal copper upto 1 1/8 | Air conditioning | VRF | Installation Accessories | N/A | 0 | 23.4426 | 0.5524 | 0 | 57.5993
CPR Internal 6 | Internal copper upto 1 3/8 | Air conditioning | VRF | Installation Accessories | N/A | 0 | 26.0822 | 0.5524 | 0 | 62.0074
CPR Internal 7 | Internal copper upto 1 5/8 | Air conditioning | VRF | Installation Accessories | N/A | 0 | 33.9051 | 0.5524 | 0 | 75.0717
Drain 1 | Insulated PVC drain 25mm | Air conditioning | VRF | Installation Accessories | N/A | 0 | 3.219 | 0.254 | 0 | 13.8593
Drain 2 | Insulated PVC drain 32mm | Air conditioning | VRF | Installation Accessories | N/A | 0 | 4.02 | 0.254 | 0 | 15.197
Refnet Y 1 | For Mini-VRF | Air conditioning | VRF | Installation Accessories | N/A | 0 | 18 | 0.6 | 0 | 50.1
Refnet Y 2 | For VRF from 8HP to 22HP | Air conditioning | VRF | Installation Accessories | N/A | 0 | 43 | 0.6 | 0 | 91.85
Refnet Y 3 | For VRF from 24HP to 50HP | Air conditioning | VRF | Installation Accessories | N/A | 0 | 61.3 | 0.6 | 0 | 122.411